## Introduction
Hi, this is the introduction page to this acquisition protocol template.
Thank you again for filling this form.
PLEASE FILL IN YOUR CONTACT INFORMATION
INTRODUCTION TO THE TEMPLATE
| For every indication, there is a new sheet in this file. You can reach these sheets by clicking in the ribbon on the bottom, or the link in the list below. |  | Name
The following indications are included in this template:
|  | Percentage completed: | E-mail address
| Head CT - Trauma | 0%
| Head CT - Mastoid imaging | 0% | Institution
| Chest CT - Infections | 0%
| Chest CT - HR CT | 0% | Location
REQUIRED INFO
Please make sure you have the following information per indication:
a) acquisition protocol settings
b) dosimetric data of a representative number of patients (we recommend at least 5-10)
c) reconstruction information - as how the radiologists reviews the imaging. It might be that the original reconstructions are at for example 1 mm, but the radiologist reviews the imaging at 5mm. Please enter then the 5 mm in your information.
| INSTRUCTIONS FOR FILLING IN THE TEMPLATE |  | Protocol 1
| Please start by filling your contact details in the table on the right of this worksheet. |  | CT system info
| Then, continue to the desired indication by clicking on the links above or the tabs below. |  | Parameter | Example answer | Answer
| In each sheet, the acquisition protocol can be filled in for every CT scanner you have, if they differ. |  | Manufacturer | Siemens
| A part of an example protocol can be found on the right of this explanation, under the table for contact details. This is not the complete table. |  | Model | SOMATOM Flash (v…)
| Each protocol template contains a column stating the parameter, a column giving additional comments in italics, and one set of columns for your answers. |  | Number of detector rows | 64
| Each answer block contains 5 columns, each for one (age/weight) category. Please define these categories at the top of each protocol |  | Number of 'slices' | 128
| Cells that require your input are marked yellow until you have given your input |  | Year of installation | mm/yyyy
If the protocols do not differ, only one filled template per indication suffices.
| If more than four protocols per indication are available, the table can easily be copied and pasted. |  | Protocol information
| Please make sure all values are noted in correct units. Correct units are given in brackets. |  | Parameter (unit) | Comments (examples) | Answer
| Regarding the dosimetric values (CTDI, DLP, SSDE), please state the average/range used for the last 5-10 patients of that specific (age/weight) category. |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*)
| It is encouraged to send in additional dosimetric summaries from your institute's radiation dose monitoring service as reference. |  |  |  | <.. | ..-.. | ..--.. | ..--.. | >..
| Regarding the Reconstructions, please specify only the axial/transversal plane reconstructions, unless a specific viewing angle is essential for your protocol. |  | Acquisition
| If more than two reconstructions are necessary for your protocol, the specific rows can be copied and pasted. |  | CTDIvol (mGy) | Range/average for each category. Use the average of the last 5-10 patients. Use the CTDI for the main scan, no inclusion of e.g. scanograms
Cells marked in red are missing essential data, but will turn white if data is entered.
Cells marked in orange are missing essential data or the entered values might be too high or too low.
| Questions that have limited answer options, can be answered using a drop-down. |  | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category. Use the average of the last 5-10 patients. Use the CTDI for the main scan, no inclusion of e.g. scanograms
Click | You can always return to this introductory sheet by clicking the green button on top of each sheet.
| Please make sure you save the worksheet regularly, to avoid data loss. |  | CTDI reference | Paediatric reference Adult reference
If there is anything unclear, do not hesitate to contact the researchers!
Do not guess what to fill in, just send us an email!
Contact the team via: RHYTHM@umcutrecht.nl
INSTRUCTIONS FOR SHARING THE TEMPLATE
Before sharing the template, make sure you have filled in your contact details in the section above.
Once you have finished the template, please share it with us either via the email address above, or via our secured tool (link below).
Link to our Castor upload tool

## Head CT - Trauma
Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET
Protocol Indication: |  | Non-contrast-enhanced Head CT - Trauma |  |  |  |  | Protocol Indication: |  | Non-contrast-enhanced Head CT - Trauma |  |  |  |  | Protocol Indication: |  | Non-contrast-enhanced Head CT - Trauma |  |  |  |  | Protocol Indication: |  | Non-contrast-enhanced Head CT - Trauma
Protocol 1 | [6 empty] | Protocol 2 (if applicable) | [6 empty] | Protocol 3 (if applicable) | [6 empty] | Protocol 4 (if applicable)
CT system info | [6 empty] | CT system info | [6 empty] | CT system info | [6 empty] | CT system info
Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer
Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens
Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…)
Number of detector rows | 64 | [5 empty] | Number of detector rows | 64 | [5 empty] | Number of detector rows | 64 | [5 empty] | Number of detector rows | 64
Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128
Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy
Protocol information | [6 empty] | Protocol information | [6 empty] | Protocol information | [6 empty] | Protocol information
Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer
Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient"
Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*)
| And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >..
Acquisition | [6 empty] | Acquisition | [6 empty] | Acquisition | [6 empty] | Acquisition
Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A
Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver"
Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no
If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted?
If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination
If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index.
If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest".
If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other
Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection)
Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection)
Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type.
Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation
Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric
Rotation time (s) | [6 empty] | Rotation time (s) | [6 empty] | Rotation time (s) | [6 empty] | Rotation time (s)
Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row
Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation)
CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference
CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body)
DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category
SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category
Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions
Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions
Other comments | [6 empty] | Other comments | [6 empty] | Other comments | [6 empty] | Other comments
E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol
|  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*)
no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years)
|  | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg)
16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical
32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot
|  | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric
|  | Other | [6 empty] | Other | [6 empty] | Other | [6 empty] | Other
Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing
Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration)
Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration)
|  | other | [6 empty] | other | [6 empty] | other | [6 empty] | other
|  | N/A | [6 empty] | N/A | [6 empty] | N/A | [6 empty] | N/A
Adult | [6 empty] | Adult | [6 empty] | Adult | [6 empty] | Adult
Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric
Axial | [6 empty] | Axial | [6 empty] | Axial | [6 empty] | Axial
Coronal | [6 empty] | Coronal | [6 empty] | Coronal | [6 empty] | Coronal
Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal

## Head CT - Mastoid
Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET
Protocol Indication: |  | Non-contrast-enhanced Head CT - Mastoid |  |  |  |  | Protocol Indication: |  | Non-contrast-enhanced Head CT - Mastoid |  |  |  |  | Protocol Indication: |  | Non-contrast-enhanced Head CT - Mastoid |  |  |  |  | Protocol Indication: |  | Non-contrast-enhanced Head CT - Trauma
Protocol 1 | [6 empty] | Protocol 2 (if applicable) | [6 empty] | Protocol 3 (if applicable) | [6 empty] | Protocol 4 (if applicable)
CT system info | [6 empty] | CT system info | [6 empty] | CT system info | [6 empty] | CT system info
Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer
Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens
Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…)
Number of detector rows | 64 | [5 empty] | Number of detector rows | 64 | [5 empty] | Number of detector rows | 64 | [5 empty] | Number of detector rows | 64
Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128
Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy
Protocol information | [6 empty] | Protocol information | [6 empty] | Protocol information | [6 empty] | Protocol information
Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer
Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient"
Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*)
| And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >..
Acquisition | [6 empty] | Acquisition | [6 empty] | Acquisition | [6 empty] | Acquisition
Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A
Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver"
Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no
If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted?
If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination
If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index.
If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest".
If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other
Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection)
Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection)
Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type.
Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation
Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric
Rotation time (s) | [6 empty] | Rotation time (s) | [6 empty] | Rotation time (s) | [6 empty] | Rotation time (s)
Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row
Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation)
CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference
CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body)
DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category
SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category
Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions
Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions
Other comments | [6 empty] | Other comments | [6 empty] | Other comments | [6 empty] | Other comments
E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol
|  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*)
no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years)
|  | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg)
16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical
32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot
|  | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric
|  | Other | [6 empty] | Other | [6 empty] | Other | [6 empty] | Other
Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing
Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration)
Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration)
|  | other | [6 empty] | other | [6 empty] | other | [6 empty] | other
|  | N/A | [6 empty] | N/A | [6 empty] | N/A | [6 empty] | N/A
Adult | [6 empty] | Adult | [6 empty] | Adult | [6 empty] | Adult
Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric
Axial | [6 empty] | Axial | [6 empty] | Axial | [6 empty] | Axial
Coronal | [6 empty] | Coronal | [6 empty] | Coronal | [6 empty] | Coronal
Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal
yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*)
no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years)
|  | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg)
16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical
32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot
|  | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric
|  | Other | [6 empty] | Other | [6 empty] | Other | [6 empty] | Other
Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing
Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration)
Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration)
|  | other | [6 empty] | other | [6 empty] | other | [6 empty] | other
|  | N/A | [6 empty] | N/A | [6 empty] | N/A | [6 empty] | N/A
Adult | [6 empty] | Adult | [6 empty] | Adult | [6 empty] | Adult
Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric
Axial | [6 empty] | Axial | [6 empty] | Axial | [6 empty] | Axial
Coronal | [6 empty] | Coronal | [6 empty] | Coronal | [6 empty] | Coronal
Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal

## Chest CT - Infections
Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET |  | Acquistion protocol template for survey - Diagnostic CT |  |  |  |  | RETURN TO THE INTRODUCTION SHEET
Protocol Indication: |  | non-contrast-enhanced Chest CT - Pulmonary metastases, infection |  |  |  |  | Protocol Indication: |  | non-contrast-enhanced Chest CT - Pulmonary metastases, infection |  |  |  |  | Protocol Indication: |  | non-contrast-enhanced Chest CT - Pulmonary metastases, infection |  |  |  |  | Protocol Indication: |  | non-contrast-enhanced Chest CT - Pulmonary metastases, infection
Protocol 1 | [6 empty] | Protocol 2 (if applicable) | [6 empty] | Protocol 3 (if applicable) | [6 empty] | Protocol 4 (if applicable)
CT system info | [6 empty] | CT system info | [6 empty] | CT system info | [6 empty] | CT system info
Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer |  |  |  |  | Parameter | Example answer | Answer
Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens | [5 empty] | Manufacturer | Siemens
Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…) | [5 empty] | Model (software generation) | SOMATOM Flash (v…)
Number of detector rows | 64 | [5 empty] | Number of detector rows | 64 | [5 empty] | Number of detector rows | 64 | [5 empty] | Number of detector rows | 64
Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128 | [5 empty] | Number of 'slices' | 128
Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [5 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy
Protocol information | [6 empty] | Protocol information | [6 empty] | Protocol information | [6 empty] | Protocol information
Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer |  |  |  |  | Parameter (unit) | Comments (examples) | Answer
Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [5 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient"
Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) |  |  |  |  | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*)
| And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >.. |  | And define border categories | <.. | ..-.. | ..--.. | ..--.. | >..
Acquisition | [6 empty] | Acquisition | [6 empty] | Acquisition | [6 empty] | Acquisition
Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [5 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A
Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [5 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver"
Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no | [5 empty] | Is automatic exposure Control used? | yes/no
If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted? | [6 empty] | If AEC is used, is the factory protocol adapted?
If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [5 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination
If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [6 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index.
If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [6 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest".
If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [5 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other
Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection)
Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [5 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection)
Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [5 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type.
Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation | [5 empty] | Pitch (-) | Feed per rotation/ total collimation
Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric | [5 empty] | Method of scanning | Helical, Step & Shoot, Volumetric
Rotation time (s) | [6 empty] | Rotation time (s) | [6 empty] | Rotation time (s) | [6 empty] | Rotation time (s)
Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row | [5 empty] | Slice collimation (mm) | Width of single detector row
Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [5 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation)
CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [5 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference | [5 empty] | CTDI reference | Paediatric reference Adult reference
CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [5 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body)
DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [5 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category
SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [5 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category
Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions
Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. |  |  |  |  | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use | [6 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal | [5 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [5 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [5 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review | [5 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [6 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name) | [6 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify | [6 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions | [6 empty] | E.g. spectral reconstructions
Other comments | [6 empty] | Other comments | [6 empty] | Other comments | [6 empty] | Other comments
E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol | [6 empty] | E.g. Special (clinical) indications for using this specific protocol
|  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0
yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*)
no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years)
|  | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg)
16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical
32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot
|  | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric
|  | Other | [6 empty] | Other | [6 empty] | Other | [6 empty] | Other
Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing
Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration)
Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration)
|  | other | [6 empty] | other | [6 empty] | other | [6 empty] | other
|  | N/A | [6 empty] | N/A | [6 empty] | N/A | [6 empty] | N/A
Adult | [6 empty] | Adult | [6 empty] | Adult | [6 empty] | Adult
Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric
Axial | [6 empty] | Axial | [6 empty] | Axial | [6 empty] | Axial
Coronal | [6 empty] | Coronal | [6 empty] | Coronal | [6 empty] | Coronal
Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal
yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*) |  |  |  |  | yes |  | Patient group definition/boundaries (years/kg*)
no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years) |  |  |  |  | no |  | Patient group definition/boundaries (years)
|  | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg) | [6 empty] | Patient group definition/boundaries (kg)
16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical |  |  |  |  | 16 (small/head) |  | Helical
32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot |  |  |  |  | 32 (large/body) |  | Step & Shoot
|  | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric | [6 empty] | Volumetric
|  | Other | [6 empty] | Other | [6 empty] | Other | [6 empty] | Other
Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing |  |  |  |  | Factory default is used |  | Free breathing
Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration) |  |  |  |  | Factory protocol is adapted, but for adults |  | Breath hold (expiration)
Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) |  |  |  |  | Factory protocol is specifically adapted for children |  | Breath hold (inspiration)
|  | other | [6 empty] | other | [6 empty] | other | [6 empty] | other
|  | N/A | [6 empty] | N/A | [6 empty] | N/A | [6 empty] | N/A
Adult | [6 empty] | Adult | [6 empty] | Adult | [6 empty] | Adult
Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric | [6 empty] | Paediatric
Axial | [6 empty] | Axial | [6 empty] | Axial | [6 empty] | Axial
Coronal | [6 empty] | Coronal | [6 empty] | Coronal | [6 empty] | Coronal
Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal | [6 empty] | Sagittal

## Chest CT - HR CT
Acquistion protocol template for survey - Diagnostic CT | [7 empty] | RETURN TO THE INTRODUCTION SHEET |  |  |  | Acquistion protocol template for survey - Diagnostic CT | [7 empty] | RETURN TO THE INTRODUCTION SHEET |  |  |  | Acquistion protocol template for survey - Diagnostic CT | [7 empty] | RETURN TO THE INTRODUCTION SHEET
Protocol Indication: |  | non-contrast-enhanced Chest CT - HR CT | [9 empty] | Protocol Indication: |  | non-contrast-enhanced Chest CT - HR CT | [9 empty] | Protocol Indication: |  | non-contrast-enhanced Chest CT - HR CT
Protocol 1 | [11 empty] | Protocol 2 (if applicable) | [11 empty] | Protocol 3 (if applicable)
CT system info | [11 empty] | CT system info | [11 empty] | CT system info
Parameter | Example answer | Answer | [9 empty] | Parameter | Example answer | Answer | [9 empty] | Parameter | Example answer | Answer
Manufacturer | Siemens | [10 empty] | Manufacturer | Siemens | [10 empty] | Manufacturer | Siemens
Model (software generation) | SOMATOM Flash (v…) | [10 empty] | Model (software generation) | SOMATOM Flash (v…) | [10 empty] | Model (software generation) | SOMATOM Flash (v…)
Number of detector rows | 64 | [10 empty] | Number of detector rows | 64 | [10 empty] | Number of detector rows | 64
Number of 'slices' | 128 | [10 empty] | Number of 'slices' | 128 | [10 empty] | Number of 'slices' | 128
Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [10 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy | [10 empty] | Date of installation | mm/yyyy If only year is known, please give it as 01/yyyy
Protocol information | [11 empty] | Protocol information | [11 empty] | Protocol information
Parameter (unit) | Comments (examples) | Answer | [9 empty] | Parameter (unit) | Comments (examples) | Answer | [9 empty] | Parameter (unit) | Comments (examples) | Answer
Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [10 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient" | [10 empty] | Clinical reason for using this protocol | For example, "standard protocol" or " moving patient"
Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) | [9 empty] | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*) | [9 empty] | Patient group categorisation | Select patient group categorisation | Patient group definition/boundaries (years/kg*)
| And define border categories | <.. |  | ..-.. |  | ..--.. |  | ..--.. |  | >.. |  |  | And define border categories | <.. |  | ..-.. |  | ..--.. |  | ..--.. |  | >.. |  |  | And define border categories | <.. |  | ..-.. |  | ..--.. |  | ..--.. |  | >..
Acquisition |  | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Acquisition |  | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Acquisition |  | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration | Inspiration | Expiration
Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [10 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A | [10 empty] | Breathing instructions | Free breathing, Breath hold (expiration), breath hold (inspiration), other, N/A
Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [10 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver" | [10 empty] | Anatomic boundaries used for defining scan length/range | for example, " from top outer ear to chin" or " clavicula to liver"
Is automatic exposure Control used? | yes/no | [10 empty] | Is automatic exposure Control used? | yes/no | [10 empty] | Is automatic exposure Control used? | yes/no
If AEC is used, is the factory protocol adapted? | [11 empty] | If AEC is used, is the factory protocol adapted? | [11 empty] | If AEC is used, is the factory protocol adapted?
If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [10 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination | [10 empty] | If AEC is used, please specify name and type of AEC algorithm or product | Automatic tube current modulation Automatic tube voltage selection Other/combination
If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [11 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index. | [11 empty] | If tube current modulation is used, please specify exposure reference, e.g. quality reference mAs, or noise index.
If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [11 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest". | [11 empty] | If tube voltage modulation is used, please specify exposure reference, e.g. reference kV, or specific "tissue of interest".
If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [10 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other | [10 empty] | If no AEC is used, please specify and describe how a patient size specific CTDIvol value is realized | Age specific Weight specific Other
Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [10 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection) | [10 empty] | Tube voltage(s) (kV) | Peak voltage (two in case of dual-energy acquisition; range in case of automatic selection)
Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [10 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection) | [10 empty] | Tube current (mAs) | Peak current (two in case of dual-energy acquisition; range in case of automatic selection)
Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [10 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type. | [10 empty] | Is any additional beam filtering used? | For example, Sn or Ag filter. If yes, please specify type.
Pitch (-) | Feed per rotation/ total collimation | [10 empty] | Pitch (-) | Feed per rotation/ total collimation | [10 empty] | Pitch (-) | Feed per rotation/ total collimation
Method of scanning | Helical, Step & Shoot, Volumetric | [10 empty] | Method of scanning | Helical, Step & Shoot, Volumetric | [10 empty] | Method of scanning | Helical, Step & Shoot, Volumetric
Rotation time (s) | [11 empty] | Rotation time (s) | [11 empty] | Rotation time (s)
Slice collimation (mm) | Width of single detector row | [10 empty] | Slice collimation (mm) | Width of single detector row | [10 empty] | Slice collimation (mm) | Width of single detector row
Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [10 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation) | [10 empty] | Total collimation (mm) | Total beam collimation (# rows x slice collimation)
CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [10 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [10 empty] | CTDIvol (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [10 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms | [10 empty] | If CTDIvol is not available please fill in CTDIw (mGy) | Range/average for each category Use the average of the last 5-10 patients Use the CTDI for the main scan, no inclusion of e.g. scanograms
CTDI reference | Paediatric reference Adult reference | [10 empty] | CTDI reference | Paediatric reference Adult reference | [10 empty] | CTDI reference | Paediatric reference Adult reference
CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [10 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body) | [10 empty] | CTDI phantom size (cm) | 16 cm (small/head) 32 cm (large/body)
DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [10 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category | [10 empty] | DLP (mGy x cm) | CTDIvol (mGy) x Length of scan (cm) Use the average of the last 5-10 patients in each category
SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [10 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category | [10 empty] | SSDE (mGy) | Dose value that takes patient size into account (if available) Use the average of the last 5-10 patients in each category
Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. | [9 empty] | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. | [9 empty] | Reconstruction 1 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [11 empty] | Clinical use | [11 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [10 empty] | Main viewing direction | Axial, Coronal, Sagittal | [10 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [10 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [10 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [10 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [10 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [10 empty] | Increment (mm) | The slice increment the radiologist uses for review | [10 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [11 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [11 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [11 empty] | If yes, please provide details (strength, algorithm, name) | [11 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [11 empty] | Advanced post-processing used? If yes, please specify | [11 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [11 empty] | E.g. spectral reconstructions | [11 empty] | E.g. spectral reconstructions
Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. | [9 empty] | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist. | [9 empty] | Reconstruction 2 |  | Please state the reconstructions most viewed by the radiologist, as reviewed by the radiologist.
Clinical use | [11 empty] | Clinical use | [11 empty] | Clinical use
Main viewing direction | Axial, Coronal, Sagittal | [10 empty] | Main viewing direction | Axial, Coronal, Sagittal | [10 empty] | Main viewing direction | Axial, Coronal, Sagittal
Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [10 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue' | [10 empty] | Kernel / Filter (-) | "Bf40", 'B, soft tissue'
Slice thickness (mm) | The slice thickness the radiologist uses for review | [10 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review | [10 empty] | Slice thickness (mm) | The slice thickness the radiologist uses for review
Increment (mm) | The slice increment the radiologist uses for review | [10 empty] | Increment (mm) | The slice increment the radiologist uses for review | [10 empty] | Increment (mm) | The slice increment the radiologist uses for review
Iterative or AI- / Deep Learning-based reconstruction used? | [11 empty] | Iterative or AI- / Deep Learning-based reconstruction used? | [11 empty] | Iterative or AI- / Deep Learning-based reconstruction used?
| If yes, please provide details (strength, algorithm, name) | [11 empty] | If yes, please provide details (strength, algorithm, name) | [11 empty] | If yes, please provide details (strength, algorithm, name)
Advanced post-processing used? If yes, please specify | [11 empty] | Advanced post-processing used? If yes, please specify | [11 empty] | Advanced post-processing used? If yes, please specify
| E.g. spectral reconstructions | [11 empty] | E.g. spectral reconstructions | [11 empty] | E.g. spectral reconstructions
Other comments | [11 empty] | Other comments | [11 empty] | Other comments
E.g. Special (clinical) indications for using this specific protocol | [11 empty] | E.g. Special (clinical) indications for using this specific protocol | [11 empty] | E.g. Special (clinical) indications for using this specific protocol
|  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0
yes |  | Patient group definition/boundaries (years/kg*) | [9 empty] | yes |  | Patient group definition/boundaries (years/kg*) | [9 empty] | yes |  | Patient group definition/boundaries (years/kg*)
no |  | Patient group definition/boundaries (years) | [9 empty] | no |  | Patient group definition/boundaries (years) | [9 empty] | no |  | Patient group definition/boundaries (years)
|  | Patient group definition/boundaries (kg) | [11 empty] | Patient group definition/boundaries (kg) | [11 empty] | Patient group definition/boundaries (kg)
16 (small/head) |  | Helical | [9 empty] | 16 (small/head) |  | Helical | [9 empty] | 16 (small/head) |  | Helical
32 (large/body) |  | Step & Shoot | [9 empty] | 32 (large/body) |  | Step & Shoot | [9 empty] | 32 (large/body) |  | Step & Shoot
|  | Volumetric | [11 empty] | Volumetric | [11 empty] | Volumetric
|  | Other | [11 empty] | Other | [11 empty] | Other
Factory default is used |  | Free breathing | [9 empty] | Factory default is used |  | Free breathing | [9 empty] | Factory default is used |  | Free breathing
Factory protocol is adapted, but for adults |  | Breath hold (expiration) | [9 empty] | Factory protocol is adapted, but for adults |  | Breath hold (expiration) | [9 empty] | Factory protocol is adapted, but for adults |  | Breath hold (expiration)
Factory protocol is specifically adapted for children |  | Breath hold (inspiration) | [9 empty] | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) | [9 empty] | Factory protocol is specifically adapted for children |  | Breath hold (inspiration)
|  | other | [11 empty] | other | [11 empty] | other
|  | N/A | [11 empty] | N/A | [11 empty] | N/A
Adult | [11 empty] | Adult | [11 empty] | Adult
Paediatric | [11 empty] | Paediatric | [11 empty] | Paediatric
Axial | [11 empty] | Axial | [11 empty] | Axial
Coronal | [11 empty] | Coronal | [11 empty] | Coronal
Sagittal | [11 empty] | Sagittal | [11 empty] | Sagittal
yes |  | Patient group definition/boundaries (years/kg*) | [9 empty] | yes |  | Patient group definition/boundaries (years/kg*) | [9 empty] | yes |  | Patient group definition/boundaries (years/kg*)
no |  | Patient group definition/boundaries (years) | [9 empty] | no |  | Patient group definition/boundaries (years) | [9 empty] | no |  | Patient group definition/boundaries (years)
|  | Patient group definition/boundaries (kg) | [11 empty] | Patient group definition/boundaries (kg) | [11 empty] | Patient group definition/boundaries (kg)
16 (small/head) |  | Helical | [9 empty] | 16 (small/head) |  | Helical | [9 empty] | 16 (small/head) |  | Helical
32 (large/body) |  | Step & Shoot | [9 empty] | 32 (large/body) |  | Step & Shoot | [9 empty] | 32 (large/body) |  | Step & Shoot
|  | Volumetric | [11 empty] | Volumetric | [11 empty] | Volumetric
|  | Other | [11 empty] | Other | [11 empty] | Other
Factory default is used |  | Free breathing | [9 empty] | Factory default is used |  | Free breathing | [9 empty] | Factory default is used |  | Free breathing
Factory protocol is adapted, but for adults |  | Breath hold (expiration) | [9 empty] | Factory protocol is adapted, but for adults |  | Breath hold (expiration) | [9 empty] | Factory protocol is adapted, but for adults |  | Breath hold (expiration)
Factory protocol is specifically adapted for children |  | Breath hold (inspiration) | [9 empty] | Factory protocol is specifically adapted for children |  | Breath hold (inspiration) | [9 empty] | Factory protocol is specifically adapted for children |  | Breath hold (inspiration)
|  | other | [11 empty] | other | [11 empty] | other
|  | N/A | [11 empty] | N/A | [11 empty] | N/A
Adult | [11 empty] | Adult | [11 empty] | Adult
Paediatric | [11 empty] | Paediatric | [11 empty] | Paediatric
Axial | [11 empty] | Axial | [11 empty] | Axial
Coronal | [11 empty] | Coronal | [11 empty] | Coronal
Sagittal | [11 empty] | Sagittal | [11 empty] | Sagittal